## COVER PG
EPUBLIC OF KENYA GOVERNMENT OF MAKUENI COUNTY
DEPARTMENT OF INFRASTRUCTURE TRANSPORT,PUBLIC WORKS & ENERGY P.O. BOX 78-90300 MAKUENI Tel No. : 020-2034944 Email: transport@makueni.go.ke Web: www.makueni.go.ke
SUB COUNTY |  | MAKUENI
WARD |  | MBITINI
CONSTRUCTION OF MBULUTINI-NDAUNI DRIFT -100M
ENGINEER'S ESTIMATE
SCOPE OF WORKS
S/NO. | ITEM |  |  | QUANTITY
1 | Preliminary Services
2 | Construction of a concrete drift |  |  | 100M
3 | Gabion installation ( Protection works) |  |  | 40 Pcs
4 | Excavation of Catch water drains |  |  | 400m
5 | Installation of Concrete Markpost |  |  | 8 Pcs
6 | Gravelling |  |  | 0.3km
APPROVAL
| DESIGNATION | SIGN | DATE
Prepared By: | Roads inspector
Checked By: | P.R.E Roads
Approved By: | Director - IT&PW
Issued By: | Chief officer- IT&PW

## BOQ
BILL NO. 1 : PRELIMINARY AND SUPERVISORY/SUPPORT SERVICES
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
12350000
1.01 | Provide, erect and maintain publicity signs as directed by the Engineer. | No. | 1
1.04 | Allow a Prime Cost (P.C) sum of KShs. 216,125.00 for transport for the Engineer's supervision team. | PC Sum | 1
1.05 | E.O. item 1.04 for the contractor's overheads and profit. | % | 10%
1.06 | Provide a provisional sum of KShs. 210,000.00 for contract management expenses (design tools and equipment) | PC Sum | 1%
1.07 | E.O. item 1.08 for the contractor's overheads and profit. | % | 10%
1.08 | Allow a Prime Cost (P.C) sum of KShs 80,000.00 for materials testing in external laboratory as directed by the engineer. | PC Sum | 1
1.09 | E.O. item 1.06 for the contractor's overheads and profit. | % | 10%
1.1 | Allow a Prime Cost (P.C) sum of KShs. 123,500.00 for setting out works as instructed by the Engineer. | PC Sum | 1
0
1.11 | E.O. item 1.08 for the contractor's overheads and profit. | % | 10% |  | 0
1.1 | Provide a provisional sum for contract management expenses ( equipment) | PC Sum | 1
1.11 | E.O. item 1.08 for the contractor's overheads and profit.
Total of Bill 1 carried forward to summary Page |  |  |  |  | 0
BILL NO. 4 : SITE CLEARANCE AND TOPSOIL STRIPPING
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Note: No separate payments shall be made for gravel for blinding or hauling to spoil unsuitable excavation materials and the cost of such shall be included in the rates and prices
4.01 | Light bush clearing as directed by the Engineer(Labour based) | m2
4.02 | Heavy bush clearing as directed by the Engineer. | m2
4.03 | Clear site on road reserve including removal of all growths, bushes,hedges, trees, stumps, grub up roots, and other deleterious materials and backfill as directed (Mechanical). | m2
4.04 | Cut ,remove and dispose trees (500-1000 mm) in girth including their stump along road reservenot more. | No.
4.05 | Cut ,remove and dispose trees (>1000 mm) in girth, measured 1000 mm above the ground level including their stump along road reserve as directed by Engineer. | No.
4.06 | Strip top soil upto 200 m in thickness along alignment or material sites including removal of all grass and other vegetation,transport to spoil and spread or stock pile for re-use as directed by the Engineer. | m3
Total of Bill 4 carried forward to summary |  |  |  |  | 0
BILL NO. 5 : EARTHWORKS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
No separate payment shall be made for the haulage of material and the cost of such haulage shall be included in the rates and/or prices inserted
5.01 | Fill in soft material to 95% MDD (AASHTO T99) in layers of 150mm each in accordance with relevant clauses of the specs. | m3
5.02 | Fill in Hard material to 95% MDD (AASHTO T99) in layers of 150mm each in accordance with relevant clauses of the specs | m3 | 300
5.03 | Cut to spoil in soft material in accordance with relevant clauses of the specs. Includes excavations in swampy areas. | m3 | 300
5.04 | As item 5.03 but in hard materials. | m3
5.05 | Provide and place rockfill on swampy areas as directed by the Engineer, | m3
Total of Bill 5 carried forward to summary |  |  |  |  | 0
BILL NO.7 : EXCAVATION AND FILLING FOR STRUCTURES ( BRIDGES AND BOX CULVERTS)
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
7.01 | Excavation for structures in soft material as per the drawings and specifications | m3 | 650
7.02 | Excavate and spoil for river training in soft material(Provisional) | m3 | 0
7.03 | E.O. Item 7.01 and 7.02 for excavation in hard material | m3
7.04 | Provide,place and compact rockfill below and around strucures. | m3 | 600
7.05 | Provide,lay and fix 200mm thick stone pitching including grout | m2 | 100
7.06 | Excavation for gabions in soft material as per the drawings and specifications | m3 | 80
7.07 | Excavate for gabions in hard material as per the drawings and specifications | m3
7.08 | Provide, lay and fix gabion mesh, 2.7mm thickness as per drawings and specifications | m2 | 440
7.09 | Supply, lay and compact Rockfill to gabions | m3 | 80
7.1 | Provide Concrete blinding to gabions as per drawings and specifications | m2 | 10.6431
Total of Bill 7 carried forward to summary |  |  |  |  | 0
BILL NO.8 CULVERT AND DRAINAGE WORKS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
8.01 | Excavate for culverts and subsoil drains in soft material as per drawings and specifications | m3
8.02 | Ditto item 8.01 but for minor drainage structures | m3
8.03 | Ditto item 8.01 but for mitre,catchwater and outfall drains
| in soft material | m3 | 300
8.04 | Ditto item 8.01 but for cut-off drains in soft material | m3
8.05 | E.O. Items 8.01-8.04 for excavation in hard material | m3
8.06 | Provide and lay selected backfill material as per specifications | m3
8.07 | Provide and lay rockfill below culverts as specified | m3
8.1 | Provide and lay concrete Class 25/20 culvert headwalls and wingwalls | m3
8.11 | Ditto item 8.10 but concrete Class 15/20 to beds, surrounds and haunches | m3
8.12 | Provide, lay and joint concrete pipe culverts: |  |  |  | 0
| (a ) 600mm diameter | m
| (b ) 900mm diameter | m
| (c ) 1200mm diameter | m
8.13 | Provide and backfill approved material around new structures and compact in layers not exceeding 150mm to Engineer's Approval. | m3 | 0
0
0
Total of Bill 8 carried forward to summary |  |  |  |  | 0
0
BILL NO. 9 : PASSAGE OF TRAFFIC
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
9.01 | Allow for the passage of traffic through the works in compliance with the relevant clauses of the specifications | km | 0.3
Total of Bill 9 carried forward to summary
BILL NO. 10: GRADING AND GRAVELLING WORKS.
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
NOTE: All costs and charges connected with haulage are to be included within the unit rates entered against the items described in this bill quantities.
10.01 | Light grading of existing carriageway to camber,including slopes and ditches as instructed by the Engineer. | m2 | 0
10.02 | Heavy grading without watering and compaction of the existing carriageway to camber,including slopes and ditches as instructed by the Engineer. | m2
10.03 | Heavy grading with watering and compaction of the existing carriageway to camber,including slopes and ditches as instructed by the Engineer. | m2
10.04 | Provide, spread, water and compact approved gravel to a specified thickness at 95% MDD as instructed by the Engineer. | m3 | 270
Total of Bill 12 carried forward to summary
BILL NO. 17: C0NCRETE W0RKS - BRIDGES AND B0X CUVERTS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
17.02 | Provide all material, labour , plant etc and lay concrete Class 25/20 as per the specifications | m3 | 237.37
17.03 | Provide all material, labour , plant etc and lay blinding concrete Class 15/20 as per the specifications | m3 | 8.6
17.04 | Provide Unformed surface finish UF2 as per specifications | m2 | 550
17.06 | (a) Formwork to edges of slabs | m
17.07 | Provide, cut, bend and fix reinforcement as per drawings and specifications as follows:
| (a) High yield not exceeding 16mm diameter | Kg | 11215
| (b) High yield exceeding 16mm diameter | Kg | 0
Total of Bill 17 carried forward to summary
BILL NO. 20: ROAD FURNITURE
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
20.03 | Place and fix reinforced concreret edge Mark Post/Bollard of size 150 m by 150 mm by 1200 mm yellow and black painted and as per the drawings or as shall be instructed by the Engineer. | No. | 8
Total of Bill 20 carried forward Summary
BILL NO .22: DAYWORKS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
Plant/Equipment
The rates inserted herein are to include all operational and maintenance costs,fuel, oil, grease drivers/operators wages, supervision overheads and profits. Only time actually employed upon the work will be measured and the rates shall include for idle time
22.01 | Crawler dozers with dozers and hydraulic attachment.
| (a) 100 - 135 kw rated flywheel power. | hr. |  | 10500
| (b) 136 - 185 kw rated flywheel power. | hr. |  | 13500 | 0
22.02 | Self -loading wheeled motor scraper of
| (a) upto 15 m3 | hr. |  | 10500
| (b) Upto 25 m3 struck capacity | hr. |  | 12500
22.03 | Motor Graders
| (a) 80 - 110 kw rated flywheel power. | hr. |  | 9500
| (b) 111 -150 kw rated flywheel power. | hr. |  | 10500 | 0
22.05 | Vibratory compactor, smooth drum, with a flywheel of about 77 kw capable of generating a centrifugal force of up to 112KN at 30 HZ | hr. |  | 6000
22.10 | Dual - purpose Hydraulic excavator (with a backhoe/ loader) and a rated bucket capacity of upto 1m3. | hr. |  | 9500
22.11 | Wheel loader 4WD, articulated:
(a) 1.5 - 2.0 m3
| SAE rated bucket capacity. | hr. |  | 12500
(b) 2.1 - 3.4m3
| SAE rated bucket capacity. | hr. |  | 15000
22.12 | Pump (inclusive of all houses) and 50 - 80mm delivery. | hr. |  | 150
22.15 | Concrete mixer of 0.2 - 0.3m3 (wet capacity) | hr. |  | 1500
22.16 | Poker vibrator for concrete, diesel. | hr. |  | 500
22.18 | Tip (dump) truck
| (a) 10 - 15 Tonne gross weight | hr. |  | 3380
| (b) 16-25 tonne gross weight. | hr. |  | 3770
22.19 | Pick - up 1 tonne gross weight of upto I tonne carrying capacity. | hr.
22.20 | Water tanker/bowser self propelled, 5000 - 10,000 I capacity. | hr.
Total of Bill 22 carried forward to next page. |  |  |  |  | 0
BILL NO. 22 : DAYWORKS
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
| Brought forward from previous page |  |  |  | 0
LABOUR
All items of labour must be priced (see clause 2202 (b) in the specifications) Only the actual time engaged upon the work will be paid for.
Note: The rate inserted herein shall include all costs of labour, as well as overtime, travelling, time and cost of accommodation, social security, contributions, use and maintenance of small tools of trade, supervision,insurance, overheads, profits and
22.25 | Unskilled Labour | Day |  | 600 | 0
22.26 | Carpenter/Stone mason | hr. |  | 1200
22.28 | Artisan | hr. |  | 1000
22.29 | Watchman (all round surveillance) | hr. |  | 850
MATERIALS
All items of materials must be priced, and in accordance with clause 2202 (c) requirements of the specifications.
22.30 | Ordinary Portland cement | ton. |  | 100000
22.31 | Aggregates for Concrete
| (a) Sand | ton. |  | 2500
(b) Coarse
| (nominal size 10-20) | ton. |  | 4000
22.34 | As item 22.33 but High yield steel
| (a) Up to and including 16mm diameter. | ton. |  | 180000
| (b) Over 16mm diameter size. | ton. |  | 200000
22.37 | Gabion Mesh
| (2.0 x 1.0 x 1.0 m) | m2 |  | 800
22.38 | Rock fill to Gabions or around structures | m3 |  | 2000
Total of Bill 22 carried forward Summary |  |  |  |  | 0
BILL NO. 25 : Health,Safety and Environment (HSE)
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
25.01 | Plant,water and tender tree seedlings untill firmly established as directed by the engineer | No. |  | 1500
25.02 | Supply and spray water using a 10,000 Litres Water Bowser (To be inspected and approved) for watering of road surface as an Environemtal conservation measure(dust control) as shall be directed by Engineer. | No. |  | 20000
Total for Bill 25 carried forward Summary |  |  |  |  | 0

## Summaries
SUMMARY OF BILLS OF QUANTITIES
CONSTRUCTION MBULUTINI -NDAUNI DRIFT
Bill | DESCRIPTION | AMOUNT (KSHS)
No.
1 | PRELIMINARY AND SUPERVISORY/SUPPORT SERVICES |  | 0
4 | SITE CLEARANCE AND TOPSOIL STRIPPING |  | 0
5 | EARTHWORKS |  | 0
7 | EXCAVATION AND FILLING FOR STRUCTURES |  | 0
8 | CULVERTS AND DRAINAGE WORKS |  | 0
9 | PASSAGE OF TRAFFIC |  | 0
12 | GRADING AND GRAVELLING |  | 0
17 | CONCRETE WORKS |  | 0
20 | ROAD FURNITURE |  | 0
1 | SUB TOTAL (1) |  | 0
| Add 2% of Sub-Total 1 of Bills as Provisional Sums for Contingencies to be Expended in the whole or part as directed by the Engineer in accordance with relevant clauses of Conditions of Contract (2) |  | 0
2 | SUB-TOTAL (2) |  | 0
| Add 0.03% of Subtotal 1 above for Public Procucurement Capacity Building Levy Pursuant to PPRA Circular No. 1 of 2024 |  | 0
3 | Add 16% of Sub-Total (2) for V.A.T. - (3) |  | 0 | 100000
140000
100000
340000
140000
480000
| GRAND TOTAL CARRIED FORWARD TO FORM OF BID (SUB-TOTAL 2+3) |  | 0 | 12550000
Note: Provide unit rate for all bill items including items with nil quantities |  |  |  | 0
12550000
12015979.6