## Kalawani -Blank
PROPOSED COMPLETION OF POST HARVESTING FACILITY (COLDROOMS AND PACK HOUSE) AT KALAWANI IN MAKUENI COUNTY.- PHASE 2
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
ELEMENT NO.1
MAIN HOUSE -REPAIRS AND ALTERATIONS
Roof Works
| Prepare and apply three coats plastic silk emulsion paint to: |  |  |  | 0
A | Surfaces of timber, 200-300mm girth | 50 | LM
Rain Water Goods
B | 150 x 100 half round Upvc gutter complete with fixtures and accessories. | 50 | LM
C | Extra over ditto for stopped ends | 6 | NO
D | Ditto for outlets | 6 | NO
E | Ditto but elbow | 2 | NO
F | 100mm diameter heavy duty PVC rain water downpipe fixed to wall with holder clips. | 42 | LM
G | Extra over ditto for swan neck | 4 | NO
H | Ditto for horse shoe | 4 | NO
I | 150mm diameter support brackets | 35 | NO
J | 150mm diameter joint unions | 6 | NO
Painting to steel Gutters
Prepare and apply three coats of gloss paint to:
K | General surfaces of metal Gutters (both inside and outside). | 50 | LM
L | Ditto but super strong bonding leak-proof sealant to joints to approval. | 50 | LM
M | Ditto but, painting to Metal grill surfaces. | 36 | SM
N | Allow for encasing of down pipe along the wall including all necessary fittings. |  | Item
O | Allow for Repair of the roof leakage, including applying of sealant OR replacing of loose nails to approval. |  | Item
Total carried to Collection
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
Ventilation Appliances.
A | Supply and install stainless steel rotating roof cyclones ventilators, 500mm diameter, aluminium construction, powder coated finish complete with weather proof flashing and fasteners, including all necessary accessories. | 4 | NO
B | Allow for re-fixing of the loose cable tray firmly to wall, including fixing of the cover. |  | Item
C | Supply and fix stainless steel double sink complete with taps ,mansory stand and concrete top, finished with white glazed tiles , including drainage works and connection to the existing drainage system. | 2 | NO
| Total carried to Collection |  |  |  | 0
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
Floor Finishes
A | Carefully,Hack out the cracked floor sections approximately 20 SM in preparation for repairing, including making good the disturbed surfaces. |  | Item
B | Supply and apply 3mm thick multiple layers of Epoxy floor finish laid to approval. | 20 | SM
C | Provide and install 200x50mm thick timber as impact bearer at the of Loading and unloading bay. | 25 | LM
D | Allow for the connection of the drainage system to the existing Manhole, approximately 20m including all necessary fittings, testing and commissioning. |  | Item
Septic Tank Repairs
E | Carefully remove the debris and clean the septictank, including making good any defects as instructed by the Engineer |  | Item
F | Supply anf install UPVC Manhole cover size 600mmx450mm, to Engineers approval and satisfaction | 1 | NO
G | Supply and fix drainage pipe 100mm diameter including connection from the septic tank to the Soakage Pit | 6 | LM
Total carried to Collection
COLLECTION
Total Brought forward from Pg 01
Total Brought forward from Pg 02
Total Brought forward from Pg 03 Above
TOTAL FOR REPAIRS AND ALTERATIONS TO THE EXISTING BUILDING CARRIED TO SUMMARY PAGE.
2.0 EQUIPING
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
EQUIPING
| Sorting Tables |  |  |  | 0
A | Supply and install stainless steel soarting tables sizes 2400mmx1200mmx900mm high, with drain pipes to allow connction to the existing drainage system. | 3 | NO
Storage Racks
B | Supply and install 5 tier, stainless steel storage racks of size 2000mmx650mmx11675mm high, Each shelf shall be constructed in stainless steel sheets 3mm thick, with a 50mm up stand all round. Thw whole unit shall be substantially constructed such that shelves are evenly distributed, the frame shall be stainless steel 32mmx3mm thick, with adjustable sanitary feet. | 1 | NO
TOTAL FOREQUIPING CARRIED TO SUMMARY PAGE.
EXTERNAL WORKS
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
ELEMENT NO.2
EXTERNAL WORKS.
1. ACESS ROAD
Site Preparation
A | Cut to fill, Grade to level, and thoroughly compact formation to receive murram fill (m/s). | 440 | SM
Murram
B | Provide, lay, water and compact to 98% B.S 200mm thick approved layer of murram fill or other approved alternative. | 45 | CM
Sand Blinding
C | Supply, lay and level 50mm thick sand blinding to receive paving blocks (m/s). | 440 | SM
Cabro Paving Blocks
D | Supply and lay 60mm thick medium duty precast concrete paving blocks as "CABRO" including compaction to approval. | 440 | SM
Channel
E | Provide and place 125 x 100mm Precast concrete channels including all excavation works, concrete class 15 in bed and haunching. | 75 | LM
Draiage channel
F | Provide and place 200mm diameter half round IBD Drain complete with precast concrete side slabs, including all excavation works to avearge depth 600mm , concrete class 15 in bed and haunching. | 82 | LM
Total for Acess Road Carried to Summary
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
2.0 PARKING AREA
Site Preparation
A | Cut to fill, Grade to level, and thoroughly compact formation to receive murram fill (m/s). | 1092 | SM
B | Break the hard rock and heap the rocks aside for re-use in filling to soft areas. | 50 | CM
Murram
C | Provide, lay, water and compact to 98% B.S 200mm thick approved layer of murram fill or other approved alternative. | 204 | CM
Sand Blinding
D | Supply, lay and level 50mm thick sand blinding to receive paving blocks (m/s). | 1092 | SM
Cabro Paving Blocks
E | Supply and lay 60mm thick medium duty precast concrete paving blocks as "CABRO" including compaction to approval. | 1092 | SM
Channel
F | Provide and place 125 x 100mm Precast concrete channels including all excavation works, concrete class 15 in bed and haunching. | 125 | LM
Draiage channel
G | Provide and place 200mm diameter half round IBD Drain complete with precast concrete side slabs, including all excavation works to average depth 600mm , concrete class 15 in bed and haunching. | 175 | LM
Precast concrete Paving slabs
H | Provide and lay precast concrete 600x600x50mm thick side slabs bedded in cement sand mortar with flush joints to sides of drain channels to approval. | 48 | SM
Total for ParkingArea Carried to Summary
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
3.0 MANSORY RETAINING WALL
A | Excavation of Trenches
| Excavate for trenches commencing from ground level size 600mm wide and n.e 1.5m and cart away arising as directed by the Engineer. | 14 | CM
B | Backfilling with approved excavated soil material | 8 | CM
Insitu plain concrete
C | 50mm thick blinding | 24 | SM
Walling
D | 200mm thick natural quarry stone foundation walling, bedded and jointed in cement and sand mortar (1:3), including hoop iron reinforcement at every alternate course. | 72 | SM
E | Ditto but, to mansory pillars size 500mm wide x600mm deepx 1000mm high. | 10 | SM
Insitu Plinth finish
F | Prepare and apply 12 mm thick 2 No. coatwork cement sand (1:3) render; wood floated to concrete or blockwork base to walls; external. | 48 | SM
Prepare and apply three coats black bituminous paint on:
G | Rendered plinths, externally. | 48 | SM
Total for Mansory Retaining wall carried to Summary
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
COLLECTION
A | Brought Forward from page 5
B | Brought Forward from page 6
C | Brought Forward from page 8
TOTAL FOR EXTERNAL WORKS CARRIED TO SUMMARY
3. CHAINLINK FENCING AND GATE
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
| Gate |  |  |  | 0
A | Allow for the repair of the Existing gate 6000x2400mm high Including fastening the hinges, Latches and Painting with gloss paint M/S all to Architects details. |  | ITEM
B | Allow for repair of the existing cahinlink fence,Including concreting with mass concrete loose timber post or replacing the damaged ones, and fastening the fencing wire where necessary as per Engineers Instructions and Approval | 50 | LM
| TOTAL FOR CHAINLINK FENCE AND GATE CARRIED TO MAIN SUMMARY |  |  |  | 0
ELECTRICAL INSTALLATIONS & WASTE PIPE FOR KALAWANI COLDROOM
ITEM | DESCRIPTION | QTY | UNIT | RATE (Kshs) | AMOUNT (Kshs)
Supply, install , test and commisssion the following complete with associated accessories
Lighting fittings complete with appropriate lamps as follows:
1.1 | 4ft LED 18W complete Flourescent fitting day light with polycarbonate diffuser As Tronic or an approved equivalent Complete with hanging chains | 10 | NO
1.2 | Water and moisture proof LED light day light 12 W | 10 | NO
1.4 | Outdoor 50W LED IP65 security floodlight as Tronic or approved equivalent and automatic photocell switch | 6 | NO
other items
1.5 | Lockable Meter box measuring 24 inch by 24 inch | 1 | NO
1.6 | 16mm sq. 4 core CU/XLPE/PVC as EA cables or similar approved equivalent | 10 | LM
1.7 | Steel Draw Wire, 3mm diameter, high-tensile galvanized, IEC 60888 compliant or equivalent | 2 | ROLL
1.8 | 4-Inch PVC Electrical Duct, Heavy-Duty, 3.2mm thickness suitable for burial (waste pipe) | 30 | LM
Trenching
1.9 | Underground cable trenching,sifting,laying and back filling | 30 | LM
Total for Electrical works Carried to Summary
BILL OF QUANTITIES FOR EQUIPPING KALAWANI COLD STORAGE BOREHOLE
TULIMANI WARD, MBOONI SUB-COUNTY, MAKUENI COUNTY
FY2024-2025
NB: Rates and prices inserted by Contractor in the BoQ shall include value of the work described under the item and shall cover all over heads charges, profits, and applicable taxes. Contract to be paid as per actual works done.
Bill 1: Borehole installations
Supply,Deliver, install and test the below borehole installations;
1.1 | Supply,Deliver, install and test a Solar Powered Submersible Multistage Centrifugal Pump Set (Wetend c/w motor) of Duty Point: - 15 m3/hour at 150 meters. The pump Efficiency at duty point should be 60%. The pump Impellers should be of Stainless Steel. DS 17-17, 9.2kW or similar strictly approved by the Engineer. Provide Copies of Pump Characteristic/Performance Curves (Brochures). Install as directed by the Supervising Engineer | set | 1
1.2 | Supply, deliver and install a 3 phase, 415Vac, approved pump control panel incorporating: - i) 9.2 kW S/D Starter, c/w appropriate rating contactors, i.e. Main, Star & Delta ii) Appropriate rating overload relay as iii)Panel door mounted ammeter, >200Amps , c/w CTs iv) panel door mounted voltmeter, 0 - 500Vac, c/w voltage selector switch v) Water Level Relay, with sensitivity sensor in % vi) Phase failure relay, c/w max/min control vii) Indicator lamps: Green - run; Red - trip; Yellow - low water viii) Hand/auto selector switch, Start/stop push button ix) ADD OPTION - MA (ABOVE 9.2 KW) x) 3phase integral circuit breaker, >250Amps xi) Auxiliary circuit protective fuses, 3No xii) fully wired and labelled; provide 2 copies of schematic and control wiring diagram | Unit | 1
1.3 | 24 x 24 Meter box to engineers specifications, fully equipped as shall be instucted; 125A MCCB | Item | 1
1.4 | Supply and install DC enclosure complete with inline 1100VDC fused isolator | NO | 1
1.5 | Supply & install a submersible cable, Double Insulated, round/flat, 6.00 mm2 X 4core | m | 150
1.6 | Supply and lay Armored Copper Cable, 6.0 mm2 X 4 core | M | 20
1.7 | Supply and install Automatic Voltage Stabilizer (AVS) | NO | 1
1.8 | Allow for system earthing, lightening arrestor and balance of system | Lot | 1
1.9 | Allow for installation sundries as Hg flex conduit, cable ties, MC4 Connectors, cable lugs cable clips and all necessary assortment | Lot | 1 |  |  | 0 | 0
1.1 | Supply and install uPVC Borehole Pipes, Heavy gauge, 2.5" Ø X 3m | No. | 50
1.11 | Adaptor Set, 2.5"Ø, stainless steel | No. | 1
1.12 | Borehole Cover, c/w Cover Sundries/Fittings | Item | 1
1.13 | UPVC Pipes, ¾” Ø X 6m, Class ‘D’ for airlines | No. | 25
1.14 | UPVC Conduit, HG, 1”Ø for overhead cabling | No. | 10
1.15 | Splicing Kit, Medium Packet | No. | 2
1.16 | DC PV Disconnect switch with MCB, & cable termination block | No. | 1
1.17 | Master Water Meter, 2.5”, c/w Fittings | No. | 1
1.18 | Pump safety rop | m | 150
1.19 | I/O switch | No. | 1
1.2 | Borehole dry-run sensor | No | 1
1.21 | Sensor Cable, Twin, Double Insulated, 0.75mm2 | m | 150
1.22 | Cooling sleeve | No | 1
Bill 1 total carried to summary
Bill 2: Pipelines
2.1 | Clear, trench, and backfill 600mm deep pipeline trench as directed by site engineer. Keep trenches and other excavations free of water. | m | 200
2.2 | E.o for rock class I sections inclusive of concreting with mass concrete | m | 10
2.3 | Supply, deliver lay, joint, test and backfill HDPE Pipes 2.5" PN12.5, costs inclusive of adaptors and connectors. | m | 100
2.4 | Supply, deliver lay, joint, test and backfill HDPE Pipes 2" PN10, costs inclusive of adaptors and connectors. | m | 100
2.5 | Supply, deliver, install, and test metallic BAYLAN/KMEI master water meters (PN16, 2"). Cost to include allied HDPE/GI/GS adaptors. | No. | 1
2.6 | Supply, deliver, install, and test 2" Pegler gate valves c/w allied HDPE/GI/GS adaptors for washouts/community connection | No | 1
2.7 | Supply, deliver, install, and test 2" GI, Class B riser pipe for the tank c/w installation accessories/sundries | No | 2
2.8 | Provide for provisional plumbing works in interconnection of water from the distribution line to the cold room plumbing network | LS | 1
Bill 2 Total Carried to Summary
Bill 3: Valve Chambers
3.1 | Clear 1.4m*1.4m chamber site of bush and vegetable soils not exceeding 100mm deep and dispose off | m2 | 2
3.2 | Excavate the chamber pit 1.2m*1.2mx1m and dispose spoil | m3 | 1.5
3.3 | Prepare a foundation strip 1.2m*1.2m*150mm using reinforced concrete mix (1:2:4), max 20mm aggregate | m3 | 0.22
3.4 | Supply, cut, bend, and tie 8mm rebars in foundation and walling as guided by the engineer | kg | 10
3.5 | Construct 150mm thick chamber walls using approved local stone with bedding and jointing in 1:3 cement:sand motar | m2 | 4.5
3.6 | Apply 15mm smooth finish plaster in 1:3 cement:sand motar | m2 | 6.5
3.7 | Fabricate and install 700mm*700mm lockable manhole cover made of 16g sheets with frame anchored in the chamber walls and complete with quality padlocks (Yale/solex or equivalent). Include for applying 2 coats of metal primer and 2 coats of weather guard gloss paint, black in colour. | No | 1
Total for 1 valve chamber
| Total for 2NO. valve chambers - borehole & distribution | X | 2
Bill 3 Total carried to summary page
Bill 4 | STEEL TOWER AND PLASTIC TANK
Contractor to construct 10 m high elevated steel tower to hoist 1No. 2 CM plastic water tank
4.1 | Supply a 2 000 litres double laminated tank | No. | 1
4.2 | construct a 10 m high above ground level elevated steel structure to hold the 2 CM tank structure complete with painting with steel primer, bracing and diagonals. Use a minimum 40 * 40 * 3 mm SHS for column | No. | 1
4.3 | Booster pump
4.4 | Supply a booster pump to deliver 3 m3 at 15 m head | No | 1
4.5 | provide for a steel lockable chamber for housing booster pump | No | 1
4.6 | Provide for electrical wiring c/w conduit and switch | Item | 1
4.7 | Supply, deliver, install and test O/D 32 mm (1") PPR pipes from outlet to elevated tank | LM | 100
4.8 | PLUMBING WORKS |  |  |  | 0
4.9 | Gate Valves, Peglar type or as approved by the engineer | No. | 1
4.1 | 2" Class B GI pipes 6m length | No. | 2
Bill 4 subtotal carried to summary
GRAND SUMMARY
| BILL DESCRIPTION |  |  |  | AMOUNT (Kshs)
Bill 1: Borehole installations
Bill 2: Pipelines
Bill 3: Valve Chambers
Bill 4: Steel tower & Plastic tanks
Total for Water Supply and distribution Carried to Summary
SUPPLY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | Purchase and supply of Occupational First Aid Kits | NO | 1
B | Purchase and supply of Fire Balls [4 kg] | NO | 2
C | Purchase and supply of Portable Extinguishers Co2 5 Kgs | NO | 1
D | Servicing Portable Fire Extinguishers Co2 5 Kgs | NO | 4
E | Fabricate, Supply and Install a fire assembly point, signage, comprising of mild steel plate G14, 50mmx5mmx2.5mm steel tube fixed firmly to the Ground with concrete suround, including all excavations and Painting works to Approval | NO | 1
F | Supply of fire signage-exit routes (as per structural design/layout) Luminous | NO | 2
G | Ditto but Non Luminous | NO | 4
H | Purchase and installation of Hose reel connectors complete with connectors and accessories | LM | 30
I | Purchase installation and testing High pressure Booster Pump-complete set | NO | 1
Sub -Total 1
Provisional sums
J | Allow for provisional sum of ten thousand Kenya Shillings for relocation of installed fire extinguishers and alarm bells
K | Design and supply Fire action plans and display appropriately |  | SUM
L | Design and display an architectural emergency response plan for the premises and display appropriately |  | SUM
M | Allow for provisional sum of Kenya shillings ten thousand for end use training for operating extinguishers, fire safety, evacuation procedures and means of escape |  | SUM
TOTAL CARRIED TO MAIN SUMMARY
ITEM | SECTION DETAILS |  |  |  | AMOUNT
SUMMARY
A | REPAIRS AND ALTERATIONS TO PACKHOUSE
0
B | EQUIPING
C | EXTERNAL WORKS-CIVIL WORKS
D | CHAINLINK FENCE AND GATE
F | ELECTRICAL WORKS
G | WATER SUPPLY, STORAGE AND DISTRIBUTION
H | FIRE FIGHTING EQUIPMENT
| TOTAL CARRIED TO GRAND SUMMARY | [6 empty] | 0
ITEM | DESCRIPTION | QNTY | UNIT | RATE | AMOUNT
ELEMENT NO.7
PRIME COST & PROVISIONAL SUMS
A | Provide a Provisional Sum of Kenya Shillings Two Hundred Thousand ( Kshs 200,000.00) for Supply of office furniture and Equipment |  | SUM |  | 200000
B | Provide a Provisional Sum of Kenya Shillings One Hundred Thousand ( Kshs 100,000.00) for Project Management Committee (PMC) |  | SUM |  | 100000
C | Provide a Provisional Sum of Kenya Shillings One Hundred and Eight Thousand (Kshs 108,000.00) for Monitoring and Evaluation (M&E) |  | SUM |  | 108000
D | Provide a Provisional Sum of Kenya Shillings One Hundred and Eight Thousand (Kshs 108,000.00) for Community Outreach . |  | SUM |  | 108000
E | Provide a Provisional Sum of Kenya Shillings Two Hundred Thousand (Kshs 200,000.00) for Project Technical Supervision. |  | SUM |  | 200000
F | Provide a Provisional Sum of Kenya Shillings Two Hundred Thousand (Kshs 200,000.00) for Contigency Sums to be deducted in whole or in part at the discretion of the Project Manager. |  | SUM |  | 200000
| PRIME COST & PROVISIONAL SUMS CARRIED TO GRAND SUMMARY |  |  |  | 916000
ITEM | SECTION DETAILS |  |  |  | AMOUNT
GRAND SUMMARY
A | PRELIMINARIES
B | COMPLETION WORKS
Sub-Total 1
C | Public Procurement Capacity Building Levy order 2023 which is 0.03% of the total cost before tax persuant to PPRA Circular No. 1 of 2024.
ADD 16% VAT
Sub-Total 2
D | PRIME COST & PROVISIONAL SUMS |  |  |  | 916000
GRAND TOTAL CARRIED TO FORM OF TENDER.
AMOUNT IN WORDS:
DATE: